## Sheet1
you can edit quantities in bold - non-bold items are computed by spreadsheet. CFAST temperature and pressure (in bold) are copied from a CFAST run
dx | dy | dz | qfire | lamr | gamma | cp | cv | Rgas | P0 | T0 | rho0 | M0 | E0
10 | 10 | 10 | 100000 | 0 | 1.4 | 1012 | 722.8571 | 289.1429 | 101300 | 293.15 | 1.1951 | 1194.9883 | 253224675
Volume |  |  | qrad | qconv | hcomb | mfire
999.9 |  |  | 0 | 100000 | 50000 | 0.002
(Note volume calculated in CFAST is (1-1e-4)*Actual_volume to allow for a non-disappearing second layer (pressure calculation though uses full compartment volume)
|  | calculated pressure |  | calc temperature |  | cfast temperature |  |  |  | cfast pressure |  |  |  | Formulas (assuming constant fire)
Time | E | DP | M | T=E/(CV*M)-273.15 |  | temperature | abs error | rel error % |  | DP | abs error | rel error %
0 | 253224675 | 0 | 1194.9883 | 20 |  | 20 | 0 | 0 |  | 0 | 0 | 0 |  | DP=(gamma-1)*qtotal*Time/Volume
10 | 254230608.356 | 400 | 1195.0083 | 21.1596 |  | 21.1596 | -1.0715e-05 | -3.6407e-06 |  | 402.378 | 2.378 | 0.0023382 |  | M=M0+mfire*Time
20 | 255236588.653 | 800 | 1195.0283 | 22.3192 |  | 22.3192 | -3.6955e-05 | -1.2507e-05 |  | 804.765 | 4.765 | 0.004667 |  | E=E0+qconvec*Time+(M-M0)*cp*T (note actually we use T_i-1 to allow an analytical solution)
30 | 256242615.8921 | 1200 | 1195.0483 | 23.4789 |  | 23.4787 | -0.00017872 | -6.0251e-05 |  | 1207.16 | 7.16 | 0.0069854 |  | T=E/(cv*M)-273.15
40 | 257248690.074 | 1600 | 1195.0683 | 24.6385 |  | 24.6383 | -0.00023602 | -7.9256e-05 |  | 1609.57 | 9.57 | 0.0093003
50 | 258254811.1998 | 2000 | 1195.0883 | 25.7982 |  | 25.7978 | -0.00040884 | -0.00013676 |  | 2011.98 | 11.98 | 0.011597
60 | 259260979.2705 | 2400 | 1195.1083 | 26.9579 |  | 26.9574 | -0.00049718 | -0.00016567 |  | 2414.41 | 14.41 | 0.013896
70 | 260267194.2869 | 2800 | 1195.1283 | 28.1176 |  | 28.1169 | -0.00070106 | -0.0002327 |  | 2816.84 | 16.84 | 0.016177
80 | 261273456.25 | 3200 | 1195.1483 | 29.2773 |  | 29.2764 | -0.00092046 | -0.00030436 |  | 3219.29 | 19.29 | 0.018459
90 | 262279765.1607 | 3600 | 1195.1683 | 30.4371 |  | 30.4359 | -0.0011554 | -0.00038058 |  | 3621.74 | 21.74 | 0.020724
100 | 263286121.02 | 4000 | 1195.1883 | 31.5968 |  | 31.5954 | -0.0014058 | -0.00046132 |  | 4024.2 | 24.2 | 0.022982
110 | 264292523.8289 | 4400 | 1195.2083 | 32.7566 |  | 32.7549 | -0.0016718 | -0.00054652 |  | 4426.67 | 26.67 | 0.025232
120 | 265298973.5882 | 4800 | 1195.2283 | 33.9164 |  | 33.9143 | -0.0020533 | -0.0006687 |  | 4829.16 | 29.16 | 0.027484
130 | 266305470.2989 | 5200 | 1195.2483 | 35.0762 |  | 35.0738 | -0.0023504 | -0.00076256 |  | 5231.65 | 31.65 | 0.029718
140 | 267312013.962 | 5600 | 1195.2683 | 36.236 |  | 36.2332 | -0.002763 | -0.00089305 |  | 5634.15 | 34.15 | 0.031946
150 | 268318604.5784 | 6000 | 1195.2883 | 37.3958 |  | 37.3927 | -0.0030911 | -0.00099537 |  | 6036.66 | 36.66 | 0.034166
160 | 269325242.149 | 6400 | 1195.3083 | 38.5556 |  | 38.5521 | -0.0035347 | -0.001134 |  | 6439.18 | 39.18 | 0.036379
170 | 270331926.6748 | 6800 | 1195.3283 | 39.7155 |  | 39.7115 | -0.0039939 | -0.0012765 |  | 6841.7 | 41.7 | 0.038575
180 | 271338658.1567 | 7200 | 1195.3483 | 40.8754 |  | 40.8709 | -0.0044686 | -0.001423 |  | 7244.24 | 44.24 | 0.040774
190 | 272345436.5957 | 7600 | 1195.3683 | 42.0353 |  | 42.0303 | -0.0049588 | -0.0015733 |  | 7646.79 | 46.79 | 0.042966
200 | 273352261.9928 | 8000 | 1195.3883 | 43.1952 |  | 43.1897 | -0.0054646 | -0.0017274 |  | 8049.34 | 49.34 | 0.045142
210 | 274359134.3487 | 8400 | 1195.4083 | 44.3551 |  | 44.349 | -0.0060858 | -0.0019168 |  | 8451.91 | 51.91 | 0.04732
220 | 275366053.6646 | 8800 | 1195.4283 | 45.515 |  | 45.5084 | -0.0066227 | -0.0020783 |  | 8854.49 | 54.49 | 0.049491
230 | 276373019.9414 | 9200 | 1195.4483 | 46.675 |  | 46.6677 | -0.007275 | -0.0022747 |  | 9257.07 | 57.07 | 0.051647
240 | 277380033.1799 | 9600 | 1195.4683 | 47.8349 |  | 47.8271 | -0.0078429 | -0.0024434 |  | 9659.66 | 59.66 | 0.053796
250 | 278387093.3811 | 10000 | 1195.4883 | 48.9949 |  | 48.9864 | -0.0085263 | -0.0026467 |  | 10062.3 | 62.3 | 0.055975
260 | 279394200.546 | 10400 | 1195.5083 | 50.1549 |  | 50.1457 | -0.0092253 | -0.0028534 |  | 10464.9 | 64.9 | 0.058102
270 | 280401354.6756 | 10800 | 1195.5283 | 51.3149 |  | 51.305 | -0.0099398 | -0.0030634 |  | 10867.5 | 67.5 | 0.060214
280 | 281408555.7707 | 11200 | 1195.5483 | 52.475 |  | 52.4643 | -0.01067 | -0.0032767 |  | 11270.1 | 70.1 | 0.062311
290 | 282415803.8323 | 11600 | 1195.5683 | 53.635 |  | 53.6235 | -0.011515 | -0.0035238 |  | 11672.8 | 72.8 | 0.064482
300 | 283423098.8613 | 12000 | 1195.5883 | 54.7951 |  | 54.7828 | -0.012276 | -0.0037434 |  | 12075.4 | 75.4 | 0.066549
310 | 284430440.8588 | 12400 | 1195.6083 | 55.9552 |  | 55.9421 | -0.013053 | -0.0039662 |  | 12478.1 | 78.1 | 0.06869
320 | 285437829.8255 | 12800 | 1195.6283 | 57.1152 |  | 57.1013 | -0.013945 | -0.0042224 |  | 12880.8 | 80.8 | 0.070815
330 | 286445265.7626 | 13200 | 1195.6483 | 58.2754 |  | 58.2605 | -0.014853 | -0.0044815 |  | 13283.4 | 83.4 | 0.072838
340 | 287452748.6709 | 13600 | 1195.6683 | 59.4355 |  | 59.4197 | -0.015776 | -0.0047435 |  | 13686.1 | 86.1 | 0.074935
350 | 288460278.5513 | 14000 | 1195.6883 | 60.5956 |  | 60.579 | -0.016615 | -0.0049783 |  | 14088.8 | 88.8 | 0.077016
360 | 289467855.4048 | 14400 | 1195.7083 | 61.7558 |  | 61.7381 | -0.017669 | -0.0052759 |  | 14491.5 | 91.5 | 0.079084
370 | 290475479.2324 | 14800 | 1195.7283 | 62.9159 |  | 62.8973 | -0.018639 | -0.0055462 |  | 14894.2 | 94.2 | 0.081137
380 | 291483150.035 | 15200 | 1195.7483 | 64.0761 |  | 64.0565 | -0.019624 | -0.0058194 |  | 15297 | 97 | 0.083262
390 | 292490867.8136 | 15600 | 1195.7683 | 65.2363 |  | 65.2157 | -0.020625 | -0.0060952 |  | 15699.7 | 99.7 | 0.085287
400 | 293498632.569 | 16000 | 1195.7883 | 66.3965 |  | 66.3748 | -0.021742 | -0.0064032 |  | 16102.4 | 102.4 | 0.087298
410 | 294506444.3022 | 16400 | 1195.8083 | 67.5568 |  | 67.5339 | -0.022874 | -0.0067136 |  | 16505.2 | 105.2 | 0.08938
420 | 295514303.0143 | 16800 | 1195.8283 | 68.717 |  | 68.6931 | -0.023921 | -0.0069973 |  | 16908 | 108 | 0.091448
430 | 296522208.706 | 17200 | 1195.8483 | 69.8773 |  | 69.8522 | -0.025084 | -0.0073126 |  | 17310.7 | 110.7 | 0.093418
440 | 297530161.3784 | 17600 | 1195.8683 | 71.0376 |  | 71.0113 | -0.026263 | -0.0076304 |  | 17713.5 | 113.5 | 0.095458
450 | 298538161.0324 | 18000 | 1195.8883 | 72.1979 |  | 72.1704 | -0.027457 | -0.0079506 |  | 18116.3 | 116.3 | 0.097485
460 | 299546207.6689 | 18400 | 1195.9083 | 73.3582 |  | 73.3295 | -0.028667 | -0.0082731 |  | 18519.1 | 119.1 | 0.099499
470 | 300554301.2889 | 18800 | 1195.9283 | 74.5185 |  | 74.4885 | -0.029992 | -0.0086266 |  | 18921.9 | 121.9 | 0.1015
480 | 301562441.8934 | 19200 | 1195.9483 | 75.6788 |  | 75.6476 | -0.031233 | -0.0089536 |  | 19324.7 | 124.7 | 0.10349
490 | 302570629.4832 | 19600 | 1195.9683 | 76.8392 |  | 76.8066 | -0.032589 | -0.0093115 |  | 19727.6 | 127.6 | 0.10554
500 | 303578864.0594 | 20000 | 1195.9883 | 77.9996 |  | 77.9657 | -0.033861 | -0.0096429 |  | 20130.4 | 130.4 | 0.1075
510 | 304587145.6228 | 20400 | 1196.0083 | 79.1599 |  | 79.1247 | -0.035248 | -0.010005 |  | 20533.2 | 133.2 | 0.10945
520 | 305595474.1744 | 20800 | 1196.0283 | 80.3204 |  | 80.2837 | -0.036651 | -0.010369 |  | 20936.1 | 136.1 | 0.11147
530 | 306603849.7152 | 21200 | 1196.0483 | 81.4808 |  | 81.4427 | -0.03807 | -0.010735 |  | 21339 | 139 | 0.11347
540 | 307612272.2461 | 21600 | 1196.0683 | 82.6412 |  | 82.6017 | -0.039504 | -0.011103 |  | 21741.8 | 141.8 | 0.11538
550 | 308620741.768 | 22000 | 1196.0883 | 83.8017 |  | 83.7607 | -0.040953 | -0.011473 |  | 22144.7 | 144.7 | 0.11736
560 | 309629258.2819 | 22400 | 1196.1083 | 84.9621 |  | 84.9197 | -0.042418 | -0.011845 |  | 22547.6 | 147.6 | 0.11932
570 | 310637821.7888 | 22800 | 1196.1283 | 86.1226 |  | 86.0786 | -0.043999 | -0.012247 |  | 22950.5 | 150.5 | 0.12127
580 | 311646432.2895 | 23200 | 1196.1483 | 87.2831 |  | 87.2376 | -0.045495 | -0.012622 |  | 23353.4 | 153.4 | 0.12321
590 | 312655089.785 | 23600 | 1196.1683 | 88.4436 |  | 88.3965 | -0.047107 | -0.013028 |  | 23756.4 | 156.4 | 0.12522
600 | 313663794.2763 | 24000 | 1196.1883 | 89.6041 |  | 89.5554 | -0.048734 | -0.013435 |  | 24159.3 | 159.3 | 0.12713
610 | 314672545.7643 | 24400 | 1196.2083 | 90.7647 |  | 90.7143 | -0.050377 | -0.013843 |  | 24562.2 | 162.2 | 0.12904
620 | 315681344.2499 | 24800 | 1196.2283 | 91.9252 |  | 91.8732 | -0.052035 | -0.014253 |  | 24965.2 | 165.2 | 0.13101
630 | 316690189.7342 | 25200 | 1196.2483 | 93.0858 |  | 93.0321 | -0.053709 | -0.014665 |  | 25368.1 | 168.1 | 0.13289
640 | 317699082.2179 | 25600 | 1196.2683 | 94.2464 |  | 94.191 | -0.055399 | -0.015079 |  | 25771.1 | 171.1 | 0.13483
650 | 318708021.7022 | 26000 | 1196.2883 | 95.407 |  | 95.3499 | -0.057104 | -0.015494 |  | 26174.1 | 174.1 | 0.13676
660 | 319717008.1879 | 26400 | 1196.3083 | 96.5676 |  | 96.5087 | -0.058924 | -0.015938 |  | 26577.1 | 177.1 | 0.13868
670 | 320726041.676 | 26800 | 1196.3283 | 97.7283 |  | 97.6675 | -0.06076 | -0.016383 |  | 26980.1 | 180.1 | 0.14059
680 | 321735122.1673 | 27200 | 1196.3483 | 98.8889 |  | 98.8264 | -0.062512 | -0.016803 |  | 27383.1 | 183.1 | 0.14249
690 | 322744249.663 | 27600 | 1196.3683 | 100.0496 |  | 99.9852 | -0.064379 | -0.017251 |  | 27786.1 | 186.1 | 0.14438
700 | 323753424.1638 | 28000 | 1196.3883 | 101.2103 |  | 101.144 | -0.066262 | -0.0177 |  | 28189.1 | 189.1 | 0.14625
710 | 324762645.6708 | 28400 | 1196.4083 | 102.371 |  | 102.303 | -0.06796 | -0.018098 |  | 28592.2 | 192.2 | 0.14819
720 | 325771914.1849 | 28800 | 1196.4283 | 103.5317 |  | 103.462 | -0.069674 | -0.018497 |  | 28995.2 | 195.2 | 0.15004
730 | 326781229.707 | 29200 | 1196.4483 | 104.6924 |  | 104.62 | -0.072403 | -0.019162 |  | 29398.3 | 198.3 | 0.15195
740 | 327790592.2381 | 29600 | 1196.4683 | 105.8531 |  | 105.779 | -0.074148 | -0.019564 |  | 29801.3 | 201.3 | 0.15378
750 | 328800001.7791 | 30000 | 1196.4883 | 107.0139 |  | 106.938 | -0.075909 | -0.019967 |  | 30204.4 | 204.4 | 0.15567
760 | 329809458.331 | 30400 | 1196.5083 | 108.1747 |  | 108.097 | -0.077685 | -0.020372 |  | 30607.5 | 207.5 | 0.15756
770 | 330818961.8948 | 30800 | 1196.5283 | 109.3355 |  | 109.255 | -0.080476 | -0.02104 |  | 31010.6 | 210.6 | 0.15942
780 | 331828512.4712 | 31200 | 1196.5483 | 110.4963 |  | 110.414 | -0.082283 | -0.021448 |  | 31413.7 | 213.7 | 0.16128
790 | 332838110.0614 | 31600 | 1196.5683 | 111.6571 |  | 111.573 | -0.084106 | -0.021857 |  | 31816.8 | 216.8 | 0.16313
800 | 333847754.6663 | 32000 | 1196.5883 | 112.8179 |  | 112.731 | -0.086944 | -0.022526 |  | 32219.9 | 219.9 | 0.16497
810 | 334857446.2867 | 32400 | 1196.6083 | 113.9788 |  | 113.89 | -0.088798 | -0.022938 |  | 32623 | 223 | 0.16679
820 | 335867184.9237 | 32800 | 1196.6283 | 115.1397 |  | 115.049 | -0.090667 | -0.02335 |  | 33026.2 | 226.2 | 0.16868
830 | 336876970.5781 | 33200 | 1196.6483 | 116.3006 |  | 116.207 | -0.093552 | -0.024022 |  | 33429.3 | 229.3 | 0.17048
840 | 337886803.251 | 33600 | 1196.6683 | 117.4615 |  | 117.366 | -0.095453 | -0.024437 |  | 33832.5 | 232.5 | 0.17235
850 | 338896682.9432 | 34000 | 1196.6883 | 118.6224 |  | 118.525 | -0.097369 | -0.024853 |  | 34235.6 | 235.6 | 0.17413
860 | 339906609.6558 | 34400 | 1196.7083 | 119.7833 |  | 119.683 | -0.1003 | -0.025526 |  | 34638.8 | 238.8 | 0.17598
870 | 340916583.3897 | 34800 | 1196.7283 | 120.9442 |  | 120.842 | -0.10225 | -0.025945 |  | 35042 | 242 | 0.17781
880 | 341926604.1457 | 35200 | 1196.7483 | 122.1052 |  | 122.001 | -0.10421 | -0.026365 |  | 35445.2 | 245.2 | 0.17963
890 | 342936671.9249 | 35600 | 1196.7683 | 123.2662 |  | 123.159 | -0.10719 | -0.027039 |  | 35848.4 | 248.4 | 0.18145
900 | 343946786.7282 | 36000 | 1196.7883 | 124.4272 |  | 124.318 | -0.10918 | -0.027462 |  | 36251.6 | 251.6 | 0.18325